Lecture Schedule

Department of ELECTRICAL AND ELECTRONICS Engineering

# Branch & Section	: II B.Tech - II Sem & EEE                                              Regulation             : R16

Subject	           		: ELECTRICAL MEASUREMENTS                           Academic Year      : 2017 -2018

Name of the Faculty	: Y RAMU

Course Objectives

- To study the principle of operation and working of different types of instruments.

Measurement of voltage and current.

- To study the working principle of operation of different types of instruments for

Measurement of power and energy

- To understand the principle of operation and working of dc and ac potentiometers.

- To understand the principle of operation and working of various types of bridges for

Measurement of parameters –resistance, inductance, capacitance and frequency.

- To study the principle of operation and working of various types of magnetic

Measuring instruments.

- To understand the applications of CRO for measurement of frequency, phase difference and

Hysteresis loop using Lissajous patterns.

Course Outcomes

- Able to choose right type of instrument for measurement of voltage and current for ac

and dc.

- Able to choose right type of instrument for measurement of power and energy – able

to calibrate energy meter by suitable method

- Able to calibrate ammeter and potentiometer.

- Able to select suitable bridge for measurement of electrical parameters

- Able to use the ballistic galvanometer and flux meter for magnetic measuring

instruments

- Able to measure frequency and phase difference between signals using CRO. Able to

use digital instruments in electrical measurements.

| Unit No | Topic No | Name of the Concept | No. of Classes Required |
| --- | --- | --- | --- |
| UNIT-I: Measuring Instruments |
| Unit - 1 | 1 | Classification | 1 |
|  | 2 | Deflecting, Control & Damping Torques | 2 |
|  | 3 | PMMC Ammeter & Voltmeter | 2 |
|  | 4 | MI Type Instruments | 2 |
|  | 5 | Dynamometer type | 2 |
|  | 6 | Electrostatic voltmeters | 2 |
|  | 7 | Errors & Compensations in meters | 1 |
|  | 8 | Extension of Range using Shunts & Series Resistance | 1 |
|  | 9 | CT & PT: Ratio & Phase Angle Errors | 2 |
|  | 10 | Design Considerations | 1 |
| Total number of hours | 16 |
| UNIT-II: Measurement of Power & Energy |
| Unit - 2 | 1 | Single phase & Three phase Dynamometer Wattmeter, LPF & UPF | 2 |
|  | 2 | Expression for deflecting and control torques | 1 |
|  | 3 | Extension of range of wattmeter using instrument transformers | 2 |
|  | 4 | Measurement of active and reactive powers in balanced and unbalanced systems | 2 |
|  | 5 | Types of PF meters, single phase,Three phase dynamometer | 2 |
|  | 6 | Single phase induction type energy meter – driving and braking torques | 2 |
|  | 7 | Errors and compensations–testing by phantom loading using R.S.S. meter | 1 |
|  | 8 | Three phase energy ,maximum demand meters | 2 |
|  | 9 | Electrical response type frequency meter and Weston type Synchroscope | 2 |
| Total number of hours | 16 |
| UNIT-III:Potentiometers |
| Unit - 3 | 1 | Principle and operation of D.C. Crompton’s potentiometer , | 2 |
|  | 2 | standardization | 1 |
|  | 3 | Measurement of unknown resistance,current, voltage. | 1 |
|  | 4 | A.C. Potentiometers: polar and coordinate types -standardization – applications. | 2 |
| Total number of hours | 6 |
| UNIT – IV: Measurement of Parameters |
| Unit - 4 | 1 | Method of measuring low, medium and high resistance | 2 |
|  | 2 | sensitivity of Wheatstone’s bridge | 1 |
|  | 3 | Carey Foster’s bridge- Kelvin’s double bridge for measuring low resistance | 2 |
|  | 4 | loss of charge method for measurement of high resistance. | 1 |
|  | 5 | Megger, measurement of earth resistance | 1 |
|  | 6 | Measurement of inductance, Quality Factor - Maxwell’s bridge, Hay’s bridge, Anderson’s bridge, Owen’s bridge. | 3 |
|  | 7 | Measurement of capacitance and loss angle - Desauty bridge-Wien’s bridge – Schering Bridge | 3 |
|  | 8 | Wagner's Earthing device, Wien's Bridge |  |
| Total number of hours | 13 |
| UNIT – V: Magnetic Measurements: |
| Unit - 5 | 1 | Ballistic galvanometer – equation of motion – flux meter – constructional details | 2 |
|  | 2 | Determination of B-H Loop methods of reversals six point method – A.C. testing | 2 |
|  | 3 | Iron loss of bar samples– core loss measurements by bridges and potentiometers. | 2 |
| Total number of hours | 6 |
| UNIT – VI: Digital Meters |
| Unit – 6 | 1 | Digital Voltmeter-Successive approximation, ramp and integrating type | 2 |
|  | 2 | Measurement of phase difference, frequency, hysteresis loop using Lissajious patterns in CRO | 2 |
|  | 3 | Digital frequency meter | 2 |
|  | 4 | Digital multimeter | 2 |
|  | 5 | Digital Tachometer | 2 |
| Total number of hours | 10 |

Overall Number of classes required: 67

Text Books:

1. Electrical Measurements and measuring Instruments – by E.W. Golding and

F.C.Widdis, fifth Edition, Wheeler Publishing.

2.Modern Electronic Instrumentation and Measurement Techniques – A.D. Helfrick and

W.D. Cooper, PHI, 5th Edition, 2002.

References:

1. Electrical & Electronic Measurement & Instruments by A.K.Sawhney DhanpatRai

& Co.Publications.

2. Electrical and Electronic Measurements and instrumentation by R.K.Rajput,

S.Chand.

3. Electrical Measurements – by Buckingham and Price, Prentice – Hall

4. Electrical Measurements by Forest K. Harris. John Wiley and Sons

5. Electrical Measurements: Fundamentals, Concepts, Applications – by

Reissland, M.U, New Age International (P) Limited, Publishers.

6. Electrical and Electronic Measurements –by G.K.Banerjee, PHI Learning

Private Ltd, New Delhi–2012.

Signature of Faculty